## Slide 1: SQL Server Always-On
Ayman El-Ghazali

## Slide 2: Agenda
What is Always-On
InDepth - Always-On Failover Clustering
InDepth - Always-On Availability Groups
Demo of Availability Groups
Comparison between SQL 2012/2014/2016

## Slide 3: What is Always-On?

## Slide 4: Always-On
Simply put, it is a marketing term that encompasses two similar Technologies:
Failover Clustering
Availability Groups

## Slide 5: InDepth – Always-On Failover Clustering

## Slide 6: Failover Clustering
WSFC – Windows Server Failover Clustering
Node – Physical/Virtual Server that is part of a Cluster
  Basically a piece of “hardware” that powers the services
FCI – Failover Cluster Instance (SQL Installed as a Service in the Cluster)
High Availability option for Services
Services are hosted in a WSFC and a particular Node from the cluster provides the hardware resources for those services

## Slide 7: Popular uses for Clustering
Virtualization with Hyper-V
Making storage highly available
SQL Server

## Slide 8: Overview

## Slide 9: More Complex

## Slide 10: Additional Information
Requires shared storage
  SQL 2012+ allows for TempDB to be placed on local storage
Allows for Instance-Level protection (High Availability)
Can be done across sites (Multi-Subnet)
Can host Multiple FCIs, can be combined with Availability Groups
Databases are not protected, they are on shared storage and used by the FCI
Instance can only be hosted on one Node at a time; it’s not load balancing

## Slide 11: InDepth – Always-On Availability Groups

## Slide 12: What does it do?
Allows for High Availability/Disaster Recovery of a group of databases defined as an “Availability Group”
Allows for scale out for databases in the AG

## Slide 13: How is it different than Fail-over Clustering?
Does not require Shared Storage
Databases are duplicated, therefore storage footprint increases; but also provides another copy of the DB
Each server has separate system databases, and different security
Each server can be accessed separately
Replicas can be made “Read-Only” to offload read requests (close to Load-Balancing)
Automatic Page Repair

## Slide 14: Pre-Requisites
SQL Enterprise Edition – this may change with 2016
TCP Port 5022 Must be opened
Servers must be in a domain
Servers must be part of a WSFC
SQL 2012+ and Availability Groups must be enabled in SQL Config Manager
Any database participating must be in the Full-Recovery Model
Must pass cluster validation by running ALL Tests **

## Slide 15: Demo
Availability Groups

## Slide 16: Comparison between SQL 2012/2014/2016

## Slide 17: SQL 2012
First Introduction for Availability Groups
Could have One Primary and Four Secondaries (Replicas)
  Total of five servers in the Topology
  Upto Two of which are Synchronous commit
ReadOnly and ReadOnly-Intent workloads on Secondaries Possible
Backup/DBCC checks possible on Secondaries
Automatic Failover Supported to One of the Secondaries

## Slide 18: SQL 2014
Up to Eight Secondaries for One Availability Group
  Total of Nine Servers in the Topology
ReadOnly workloads can continue to operate even with Primary Replica is down
Native Integration with Azure
  Allows for deployment of Azure VM to be part of the Availability Group
  Previously this was a lengthy manual process
Additional Azure enhancements include: Backup to Azure and having Data Files in Azure Storage
Enhanced diagnostics with newer DMO internal to SQL

## Slide 19: SQL 2016
Three Synchronous Replicas now available
Automatic Failover can be specified for more than one synchronous replica
Failover now possible when a database goes offline, or is suspect, or Corrupt
  Specific databases can now allow for failover for the AG
  Previously, failover was determined by the health of the Instance
MSDTC supported by Availability Groups
Load-balancing Readable Secondary using a round-robin mechanism
Improved log transport performance to allow better over all performance
Basic Availability Group for Standard Edition**